## Slide 1: POWER ELECTRONICS
Power Electronics combine Power, Electronics and Control.
Power deals with the energy conversion system.
Control deals with the steady state and dynamic characterization of closed loop systems.
Electronics deals with the solid state devices and circuits for signal processing to meet the desired control objectives.
Power electronics may be defined as the application of solid state electronics for the control and conversion of electric power.

## Slide 3
Classification of Power electronic converters
on the basis of input side and output side power condition
  1. ac - dc converters (Rectifiers)
  a. Uncontrolled rectification (diode rectification)
fixed voltage ac  fixed voltage dc.
b. controlled rectification
fixed voltage ac  variable voltage dc
2. ac - ac converters (ac choppers/ac regulators)
fixed ac voltage & frequency to controlled
ac voltage & frequency

## Slide 4
3. dc - dc converters (Chopper)
fixed dc voltage to controlled dc voltage
dc - ac converters (Inverter)
fixed dc voltage to ac voltage with controlled magnitude & frequency
6. Static switches (Contactors)

## Slide 5: Switch Mode dc-ac Converters (Inverters)
An inverter is a circuit or system that delivers ac power at desired voltage and frequency when energized from a source of dc power.
achieved by controlled turn on and turn off of controllable devices like IGBT, MOSFET, GTO, BJT
DC input source → Battery, fuel cell, solar cell etc.
In most of the industrial applications, inverter is fed through a rectifier.
This configuration of ac to dc converter and dc to ac converter is called a dc link converter.

## Slide 6: Areas for Applications of Inverters
Variable speed ac motor drives
Industrial heating
Aircraft power supplies
Uninterruptable power supplies
HVDC Systems
Static VAR compensators
Active Harmonic Filters
Electric Vehicles

## Slide 7: Classification of Inverters
1. Voltage Source Inverters (VSI)
input dc source is a voltage source
2. Current Source Inverters (CSI)
input dc source is a current source - usually used in high power ac drives

## Slide 8: Classification of VSI on the basis of output voltage control
1. Square wave inverters
Output voltage waveform is similar to a square wave.
Input dc voltage is controlled to get controlled magnitude of ac output.
The inverter has to control only the frequency.
2. PWM inverters
Input dc voltage is constant in magnitude.
The inverter has to control both the frequency and magnitude.

## Slide 9: SQUARE WAVE INVERTERS
1. Single phase bridge Inverter
a). Half Bridge Inverter Circuit
Period of the inverter is selected as T = 1/f
f is the required output frequency
R – LOAD
For t < 0,
let TA- was conducting
Load current path :
lower source, load and TA- .
At t = 0, TA- is turned off forcibly and
TA+ is turned on
T
T/2
T/2
T/2
T/2
T
igA+
i0
VTA+
VDA+
V0
igA-

## Slide 10
0 → T/2
TA+ is on. TA- is off
Load current path :
upper source, TA+ and load
V0 =
Vd/2
i0 =
V0/R = Vd/2R
VTA+ =
0
VDA+ =
-0.6V
VTA- =
Vd
At t = T/2 , TA+ is
turned off forcibly
and TA- is turned on.
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
igA+
igA-

## Slide 11
T/2 → T
TA- is on. TA+ is off
Load current path :
lower source, load and TA-
V0 =
- Vd/2
i0 =
V0/R = - Vd/2R
VTA+ =
Vd
VDA+ =
-Vd
At t = T, TA- is
turned off forcibly
and TA+ is turned on.
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
-Vd
igA+
igA-

## Slide 12
L – Load
For t < 0,
let TA- was conducting
Load current path :
lower source, load and TA- .
At t = 0, i0 = -I1
TA- is turned off and TA+ is
turned on
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
Vd
-I1
igA+
igA-

## Slide 13
0 → T/2
i0 continues as –ve due to inductance load
TA- is in the off state for t greater than 0.
Negative Load current finds path through
load DA+ upper source.
TA+ is reverse biased due to the conduction of DA+ and
hence continues to be in the off state.
V0 = Vd/2 = L di0/dt
io varies linearly to zero with a positive slope
When i0 = iDA+ = 0,
DA+ becomes off and then TA+
becomes forward biased
TA+ is on. TA- is off
Load current path :
upper source, TA+ and load
V0 = Vd/2 = L di0/dt
At t=0, io = -I1
At t=T/2, io = +I1
i0 is zero at t=
T/4
At t = T/2 , TA+ is turned off forcibly
and TA- is turned on.
i0 =
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
Vd
-I1
igA+
igA-
DA+
TA+
Vd/2

## Slide 14
T/2 → T
i0 continues as +ve due to inductance load
TA+ is in the off state for t greater than T/2.
Positive Load current finds path through
load DA- lower source.
TA- is reverse biased and hence continues to be
in the off state.
V0 = - Vd/2 = L di0/dt
io varies linearly to zero with a negative slope.
When i0 = iDA- = 0,
DA- becomes off and then TA-
becomes forward biased
TA- is on. TA+ is off
Load current path :
Lower source, TA- and load
V0 = - Vd/2 = L di0/dt
At t=T, io = -I1
i0 is zero at t =
3T/4
At t = T , TA- is turned off forcibly
and TA+ is turned on.
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
T/4
3T/4
-Vd
Vd/2
-Vd/2
-I1
DA+
TA+
DA-
TA-

## Slide 15
R – L Load
0 to T/2
TA+ is gated. Negative Current from the previous
Cycle flows through DA+ and upper source.
TA+ is reverse biased.
V0 = Vd/2
VDA+ = 0.6V
VTA+ = - 0.6V
When i0 is zero, DA+
becomes off and
TA+ becomes on .
Current rises in the positive direction
Through upper source and TA+
Ri0(t) + Ldi0(t)/dt = Vd/2
i0(t) =
V0 = Vd/2
At t = T/2 TA+ is turned off and
TA- is turned on
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
Vd
igA+
igA-
-I1
DA+
TA+

## Slide 16
R – L Load
T/2 to T
TA- is gated. Positive Current from the previous
Cycle flows through DA- and lower source.
TA- is reverse biased.
V0 = -Vd/2
VDA+ = - Vd
VTA+ = Vd
When i0 is zero, DA-
becomes off and
TA- becomes on .
Current rises in the negative direction
Through lower source and TA-
Ri0(t) + Ldi0(t)/dt = - Vd/2
i0(t) =
V0 = -Vd/2
At t = T TA- is turned off and
TA+ is turned on
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
Vd
igA+
igA-
-I1
DA+
TA+
DA-
TA-

## Slide 17
R- L – C Load , XL > XC
At t = 0, i0 = -I1
For t > 0, DA+ is conducting
For t > A, TA+ is conducting
V0 = Vd/2
Vd/2 - R i0 - L di0/dt - 1/C ∫i0dt = 0
i0(0) = -I1
di0(t)/dt at t = 0 is
(Vd/2 - R I1 -Vco)/L
i0(t) =
At T/2, TA+ is turned off and TA-
is turned on.
DA- Conducts until i0 is zero
TA- conducts beyond B
-
+
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
-Vd
igA+
igA-
A
B
-I1
DA+
TA+
DA-
TA-

## Slide 18
R- L – C Load , XC > XL
Let DA- was conducting before t= 0. i0 was positive
At t = 0, i0 = +I1
For t > 0,
(0 →A) TA+ is conducting
Vd/2 - R i0 - L di0/dt - 1/C ∫i0dt = 0,
V0 = Vd/2
At A, i0 = 0, TA+ becomes off naturally
A →T/2, DA+ conducts
V0 = Vd/2
T/2 → B , TA- conducts
V0 = -Vd/2
TA- becomes off at B
B →T DA- conducts
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
-Vd
igA+
igA-
A
B
+I1
DA+
TA+
DA-
TA-

## Slide 19
a). Full Bridge Inverter Circuit
R – LOAD
L - Load
R – L Load
R- L – C Load
XL > XC
XC > XL

## Slide 20
Full Bridge Inverter Circuit
R Load
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
-Vd
igA+ igB-
igB+ igA-
TB+ TA-
TA+ TB-

## Slide 21
Full Bridge Inverter Circuit
L Load
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
T/4
3T/4
-Vd
Vd
-Vd
-I1
DA+
DB-
TA+ TB-
DB+ DA-
TB+ TA-
igB+ igA-
igA+ igB-

## Slide 22
Full Bridge Inverter Circuit
R – L Load
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
Vd
-I1
DA+
DB-
TA+
TB-
DA- DB+
TB+
TA-
igA+ igB-
igB+ igA-

## Slide 23
Full Bridge Inverter Circuit
R- L – C Load , XL > XC
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
-Vd
igA+ igB-
igB+ igA-
A
-I1
DA+
DB-
TA+
TB-
DA-
DB+
TB+
TA-

## Slide 24
Full Bridge Inverter Circuit
R- L – C Load , XC > XL
T
T/2
T/2
T/2
T/2
T
V0
i0
VTA+
VDA+
Vd
-Vd
igA+
igA-
A
B
+I1
DA+
DB-
TA+
TB-
DA-
DB+
TA-
TB+

## Slide 25
Diodes are used to feed back stored energy in load to dc source. These diodes are called feedback diodes.
devices used have a turn off time toff.
There must be a delay period of
td (> toff) between the turn off of
outgoing devices and turn on of
incoming devices.
Maximum conduction period
is T/2 - td

## Slide 26
Output Voltage vo
Fundamental component v01
For full bridge inverter,

## Slide 27
RMS value of total output voltage
Half Bridge inverter =
Full Bridge inverter = Vd
sinωt =
= Vd/2

## Slide 28
Output current of full bridge inverter
with R-L-C load
RMS value of fundamentalcurrent

## Slide 29: Performance Parameters of Single Phase Square wave Inverters
Harmonic Factor of nth Harmonic output voltage
HFn
Output Voltage THD

## Slide 30
Distortion Factor of nth Harmonic DFn.
Indicates the amount of harmonic distortion that remains in a particular waveform even after it has been subjected to a second order attenuation.
Lowest order Harmonic LOH.
It is that harmonic component whose frequency is closest to the fundamental and
its amplitude greater than or equal to 3% of the fundamental.

## Slide 31
A full bridge inverter has an R-L-C load with R= 10Ω, L=31.5mH and C=112µF. The inverter frequency f0 is 50Hz and dc input voltage is 220V.
(a). Express the instantaneous load voltage in Fourier series.
(b). Express the instantaneous load current in Fourier series.
(c). Calculate the RMS load current I01 at the fundamental frequency.
(d). THD of the load current.
(e). Power absorbed by the load P0 and the fundamental power.
(f) RMS and peak current of each device.

## Slide 32: Three Phase Square Wave Inverters
Three half bridge inverters are connected in parallel.
Vd
A
B
C
1800 Mode
N

## Slide 33
1
2
3
4
5
6
T
T/2
ig1
ig2
ig3
ig4
ig5
ig6
T5,T6,T1
T6,T1, T2
T1,T2,T3
T2,T3,T4
T3,T4 , T5
T4,T5 , T6
B
Vd
n
A
C
B
Vd
n
A
C
A
Vd
n
C
B
A
Vd
n
B
C
C
Vd
n
B
A

## Slide 34
1
2
3
4
5
6
T
T/2
ig1
ig2
ig3
ig4
ig5
ig6
T5,T6,T1
T6,T1, T2
T1,T2,T3
T2,T3,T4
T3,T4 , T5
T4,T5 , T6
B
Vd
n
A
C
B
Vd
n
A
C
A
Vd
n
C
B
A
Vd
n
B
C
C
Vd
n
B
A
Vd/3
-2Vd/3
Vd/3
Vd
-Vd
0
2Vd/3
-Vd/3
-Vd/3
Vd
0
-Vd
Vd/3
-Vd/3
-2Vd/3
-Vd/3
Van
Vbn
Vcn
VAB
VBC
VCA
Vd/3
-2Vd/3
0
Vd
-Vd
2Vd/3
-Vd/3
-Vd
Vd
0
Vd/3
-Vd/3
Vd/3
2Vd/3
-Vd
0
0
Vd
-Vd
Vd

## Slide 35
1
2
3
4
5
6
T
T/2
Vd/3
-2Vd/3
Vd/3
Vd
-Vd
0
2Vd/3
-Vd/3
-Vd/3
Vd
0
-Vd
Vd/3
-Vd/3
-2Vd/3
-Vd/3
Van
Vbn
Vcn
VAB
VBC
VCA
Vd/3
-2Vd/3
0
Vd
-Vd
2Vd/3
-Vd/3
-Vd
Vd
0
Vd/3
-Vd/3
Vd/3
2Vd/3
-Vd
0
0
Vd
-Vd
Vd
Van
Vbn
Vcn
VAB
VBC
VCA
Vd
Vd

## Slide 36: Three Phase Square Wave Inverters
Vd
A
B
C
1200 Mode

## Slide 37
1
2
3
4
5
6
T
T/2
ig1
ig2
ig3
ig4
ig5
ig6
T6,T1
T1, T2
T2,T3
T3,T4
T4 , T5
T5 , T6
C
Vd
n
A
B
A
Vd
n
B
C
B
Vd
n
C
A
A
Vd
n
B
C
B
Vd
n
C
A

## Slide 38
1
2
3
4
5
6
T
T/2
ig1
ig2
ig3
ig4
ig5
ig6
T6,T1
T1, T2
T2,T3
T3,T4
T4 , T5
T5 , T6
Vd/2
-Vd/2
0
Vd
Vd/2
0
-Vd/2
-Vd
0
-Vd/2
-Vd/2
0
Van
Vbn
Vcn
VAB
VBC
VCA
Vd/2
-Vd/2
Vd
Vd/2
0
-Vd
0
-Vd/2
Vd/2
Vd/2
Vd
-Vd
C
Vd
n
A
B
A
Vd
n
B
C
B
Vd
n
C
A
A
Vd
n
B
C
B
Vd
n
C
A
-Vd/2
Vd/2
-Vd/2
Vd/2
-Vd/2
Vd/2
Vd/2
-Vd/2
-Vd/2
-Vd/2
Vd/2
Vd/2

## Slide 39
1
2
3
4
5
6
T
T/2
Van
Vbn
Vcn
VAB
VBC
VCA
Van
Vbn
Vcn
VAB
VBC
VCA
Vd/2
Vd
Vd/2
-Vd/2
0
Vd
Vd/2
0
-Vd/2
-Vd
0
-Vd/2
-Vd/2
0
Vd/2
-Vd/2
Vd
Vd/2
0
-Vd
0
-Vd/2
Vd/2
Vd/2
Vd
-Vd
-Vd/2
Vd/2
-Vd/2
Vd/2
-Vd/2
Vd/2
Vd/2
-Vd/2
-Vd/2
-Vd/2
Vd/2
Vd/2
-Vd/2

## Slide 40: Utility of Switches
Utility factor of switches is defined as
PT = N VDMIDRMS
N Number of devices used in the inverter
VDM Repetitive forward voltage rating
IDRMS Rated RMS forward current of each device

## Slide 41
Utility factor is calculated with the following assumptions.
  load is ideal resistance
  RMS value of current flowing through the device is same as that of the RMS current rating of the device
  Utility factor for 1800 mode
  When load is pure resistance,
  RMS value of per phase load current

## Slide 42
RMS value of current flowing through a device
=
PT = N VDMIDRMS = 6 × Vd ×
UF =

## Slide 43
  Utility factor for 1200 mode
  When load is pure resistance,
  RMS value of per phase load current =
  RMS value of current flowing through a device =
  PT = N VDMIDRMS = 6 × Vd ×
  UF =