## Slide 1: SWITCHED MODE RECTIFIER

## Slide 2
An induction motor load is connected to a dc source through an inverter. Rectifier mode of operation occurs
during regenerative braking.
Kinetic energy associated with motor and load is recovered and fed back to the dc source.

## Slide 3
Ls is winding inductance
Vs is Back emf
sinusoidal with fundamental frequency
A single phase induction motor is connected to dc source through a converter.

## Slide 4
Converter output voltage
Vcon = VLs + Vs
VLs = Ls dis/dt
Fundamental component of Vcon
Vcon1 = VLs1 + Vs
Vs = Vcon1 – VLs1
= Vcon1 – jωLsIs1
Direction of is1 decides the inverter and rectifier modes of operation.

## Slide 5
Inversion Mode
Vcon1 leads vs by an angle δ
Real power at the ac side is
P = vsIs1 cosθ
θ
Vs
Is1
VLs1
Vcon1
δ
θ
Vcon1 leads vs and active component of Is1 is in phase with vs.
Power flows from dc side to ac side - inversion mode
VLs1

## Slide 6
Reactive power at the ac side
Q = vsIs1 sinθ
θ
Is1
VLs1
Vcon1
δ
θ
Vs

## Slide 7
Rectifier Mode
Vcon1 lags the vs by an angle δ
Real power at the ac side is
P = vsIs1 cos(180+θ) =
θ
Is1
VLs1
Vcon1
δ
90+θ
Vs
VLs1
90-θ
-

## Slide 8
Reactive power at the ac side
Q = vsIs1 sin(180+θ)
Q is the sum of reactive power absorbed by the converter and the inductance Ls.
At very high switching frequencies Ls can be made very small.
θ
Is1
VLs1
Vcon1
90+θ
Vs
VLs1
Vs
δ
Then Q is the reactive power absorbed by the converter.

## Slide 9
For a given value of ac side potential (back emf) vs and the chosen value of inductance Ls,
desired values of P & Q can be obtained
by controlling the
magnitude and phase angle δ of vcon1.

## Slide 10
Vcon1 can be varied by keeping the magnitude of Is1 and vs constant.
θ
VLs1
Vcon1
δ
Is1
VLs1
Vs

## Slide 11
Vcon1 can be varied by keeping the magnitude of Is1 and vs constant.
Inversion at upf
Rectification at upf
In both cases
VLs1
Vcon1
δ
Is1
Vs
VLs1
VLs1
Vcon1
δ
VLs1
Is1
Vs

## Slide 12
For the desirable magnitude and direction of P & Q, the magnitude of vcon1 and the phase angle δ must be controlled.
PWM converter works in the linear range (ma≤1)
Vd must be of sufficiently large magnitude.
Vd > √2 Vs

## Slide 13
Reactive power flow can be controlled by introducing a phase shift between is and vs
PWM VSI based STATIC VAr COMPENSATION
PWM VSI based SVCs are viable solution to problems associated with passive shunt compensators Thyristor controlled reactors.
They are capable of delivering controlled amount of lagging and leading Vars to a load or a bus system rapidly.