## Slide 1: Series Inverter
Commutating Elements L & C are
connected in series with load.
Load current flows continuously
through L & C.
Hence, this circuit is used in
high frequency applications.
R

## Slide 2
L & C are selected such that
the combination R-L-C is underdamped.
At t = 0, T1 is turned on. T2 is in the off state
At t=0,
i(0) = 0, Vc(0) = -Vco
= 0 =
i(t) =
R

## Slide 3
R

## Slide 4
π / ωr < t < T/2
Both switches are off
i(t) = 0, is(t) = 0
VL(t) = 0, VC = VCo
R

## Slide 5
At t’ = 0, T2 is turned on.
0 < t’ < T/2
At t’ =0
i(0) = 0, Vc(0) = Vco
R
T/2 < t < T/2+ π / ωr
t’ = t - T/2

## Slide 6: Drawbacks of series inverter
Maximum inverter frequency is limited to a value less than the circuit ringing frequency.
For very low values of inverter frequencies, load voltage is highly distorted.

## Slide 7: DESIGN of L
L is chosen on the basis of attenuation factor.
Peak value of i(t) is
If there is no attenuation, then i(t) would be
and peak value is
Attenuation factor
L is selected such that AF = 0.5

## Slide 8: DESIGN of C
C is selected from the value of ωr
If load is variable, then C is selected for the maximum possible value of R so that the circuit is under damped.
Voltage rating of C is Vd + Vco

## Slide 9: Selection of Thyristor
Forward blocking voltage rating must be greater than Vcmax
Peak current rating must be greater than peak load current for minimum load resistance
tq must be less than

## Slide 10: Modified Series Inverter
L1 = L2
C1 = C2
L1 and L2 are tightly coupled
For t < 0_ T2 is on
v c1 = v c max
v c2 = - v c min
i0 is negative
v 0 = i 0 × R
ic1 is positive
ic2 is negative
is is positive
vL2 is negative
vL1 is negative
i0

## Slide 11
At t = 0, T1 is turned on.
vc1 is coupled across L1
= vL2
T2 is commutated off.
C1 discharges through L1 and load
Vc1 changes from vc1max to vc1min
C2 gets charged through T1, L1 and
load
i0 = is – ic1
ic2 = ic1 + i0
is = ic2
vL1 = vL2 is positive when dio/dt is positive
i0

## Slide 12
At t = T/2, T2 is turned on.
vc2 is coupled across L2
= vL1
T1 is commutated off.
C2 discharges through L2 and load
Vc1 changes from vc1min to vc1max
C1 gets charged through load, T2, and L2
i0 = is – ic2
is = ic1
VT1 = Vd - VL1 - VL2 = Vd - 2VL1
i0

## Slide 13
Inverter frequency can be less than the ringing frequency.
During negative half cycle also source supplies power. Lesser distortion in source current.